## Produzione_FV
Produzione fotovoltaica
Ora | PV singolo prosumer [kWh] | PV totale caso base 4P [kWh] | PV totale scenario 5P [kWh]
00:00 | 0 | 0 | 0
01:00 | 0 | 0 | 0
02:00 | 0 | 0 | 0
03:00 | 0 | 0 | 0
04:00 | 0.0096 | 0.0384 | 0.048
05:00 | 0.6215 | 2.486 | 3.1075
06:00 | 1.8913 | 7.5652 | 9.4565
07:00 | 3.5258 | 14.1032 | 17.629
08:00 | 5.066 | 20.264 | 25.33
09:00 | 6.0967 | 24.3868 | 30.4835
10:00 | 6.6114 | 26.4456 | 33.057
11:00 | 5.6601 | 22.6404 | 28.3005
12:00 | 6.9118 | 27.6472 | 34.559
13:00 | 4.1782 | 16.7128 | 20.891
14:00 | 5.22 | 20.88 | 26.1
15:00 | 3.8761 | 15.5044 | 19.3805
16:00 | 2.2244 | 8.8976 | 11.122
17:00 | 0.7514 | 3.0056 | 3.757
18:00 | 0.2 | 0.8 | 1
19:00 | 0 | 0 | 0
20:00 | 0 | 0 | 0
21:00 | 0 | 0 | 0
22:00 | 0 | 0 | 0
23:00 | 0 | 0 | 0
Totale giornaliero | 52.8443 | 211.3772 | 264.2215

## Prezzi_GME
Prezzi orari di acquisto e vendita dell'energia
Ora | Prezzo acquisto [€/kWh] | Prezzo vendita [€/kWh]
00:00 | 0.13768 | 0.134
01:00 | 0.1197 | 0.1197
02:00 | 0.1107 | 0.1107
03:00 | 0.1047 | 0.1047
04:00 | 0.10389 | 0.10389
05:00 | 0.10428 | 0.10428
06:00 | 0.10698 | 0.10698
07:00 | 0.1234 | 0.1234
08:00 | 0.14077 | 0.13767
09:00 | 0.14518 | 0.14445
10:00 | 0.12774 | 0.12601
11:00 | 0.12471 | 0.1228
12:00 | 0.12105 | 0.11939
13:00 | 0.1061 | 0.10488
14:00 | 0.1068 | 0.1068
15:00 | 0.11941 | 0.11941
16:00 | 0.12016 | 0.12
17:00 | 0.12753 | 0.12578
18:00 | 0.12477 | 0.1228
19:00 | 0.14182 | 0.138
20:00 | 0.17155 | 0.1666
21:00 | 0.1914 | 0.18746
22:00 | 0.17002 | 0.16473
23:00 | 0.15727 | 0.15115

## Parametri_BESS
Parametri tecnici del sistema di accumulo
Parametro | Valore | Unità
Capacità nominale Enom | 9.5 | kWh
SOC minimo | 0.95 | kWh
SOC massimo | 8.55 | kWh
SOC iniziale/finale | 4.75 | kWh
Rendimento di carica ηc | 0.96 | -
Rendimento di scarica ηd | 0.96 | -
Energia max caricabile per intervallo | 2.76 | kWh
Energia max scaricabile per intervallo | 2.76 | kWh

## Domanda_ARERA
Profilo medio orario ARERA
Ora | Domanda media ARERA [kWh]
00:00 | 0.169
01:00 | 0.141
02:00 | 0.126
03:00 | 0.119
04:00 | 0.116
05:00 | 0.119
06:00 | 0.134
07:00 | 0.16
08:00 | 0.167
09:00 | 0.165
10:00 | 0.165
11:00 | 0.172
12:00 | 0.188
13:00 | 0.198
14:00 | 0.198
15:00 | 0.19
16:00 | 0.184
17:00 | 0.188
18:00 | 0.207
19:00 | 0.253
20:00 | 0.272
21:00 | 0.274
22:00 | 0.25
23:00 | 0.209

## Fattori_ku
Fattori di scala kᵤ della domanda
Utente | Tipologia | kᵤ - caso base | Utente | Tipologia | kᵤ - scenario 5P15C
P1 | Prosumer | 0.85 | P1 | Prosumer | 0.85
P2 | Prosumer | 0.95 | P2 | Prosumer | 0.95
P3 | Prosumer | 1.05 | P3 | Prosumer | 1.05
P4 | Prosumer | 1.15 | P4 | Prosumer | 1.15
C1 | Consumer | 0.8 | P5 | Prosumer | 1
C2 | Consumer | 0.9 | C1 | Consumer | 0.8
C3 | Consumer | 0.95 | C2 | Consumer | 0.9
C4 | Consumer | 1.05 | C3 | Consumer | 0.95
C5 | Consumer | 1.1 | C4 | Consumer | 1.05
C6 | Consumer | 1.2 | C5 | Consumer | 1.1
|  |  | C6 | Consumer | 1.2
|  |  | C7 | Consumer | 0.8
|  |  | C8 | Consumer | 0.9
|  |  | C9 | Consumer | 0.95
|  |  | C10 | Consumer | 1.05
|  |  | C11 | Consumer | 1.1
|  |  | C12 | Consumer | 1.2
|  |  | C13 | Consumer | 0.9
|  |  | C14 | Consumer | 1
|  |  | C15 | Consumer | 1.1

## Domanda_base
Domanda oraria - caso base (4 prosumer + 6 consumer)
Ora | DARERA [kWh] | P1 | P2 | P3 | P4 | C1 | C2 | C3 | C4 | C5 | C6 | Domanda totale CER [kWh]
00:00 | 0.169 | 0.14365 | 0.16055 | 0.17745 | 0.19435 | 0.1352 | 0.1521 | 0.16055 | 0.17745 | 0.1859 | 0.2028 | 1.69
01:00 | 0.141 | 0.11985 | 0.13395 | 0.14805 | 0.16215 | 0.1128 | 0.1269 | 0.13395 | 0.14805 | 0.1551 | 0.1692 | 1.41
02:00 | 0.126 | 0.1071 | 0.1197 | 0.1323 | 0.1449 | 0.1008 | 0.1134 | 0.1197 | 0.1323 | 0.1386 | 0.1512 | 1.26
03:00 | 0.119 | 0.10115 | 0.11305 | 0.12495 | 0.13685 | 0.0952 | 0.1071 | 0.11305 | 0.12495 | 0.1309 | 0.1428 | 1.19
04:00 | 0.116 | 0.0986 | 0.1102 | 0.1218 | 0.1334 | 0.0928 | 0.1044 | 0.1102 | 0.1218 | 0.1276 | 0.1392 | 1.16
05:00 | 0.119 | 0.10115 | 0.11305 | 0.12495 | 0.13685 | 0.0952 | 0.1071 | 0.11305 | 0.12495 | 0.1309 | 0.1428 | 1.19
06:00 | 0.134 | 0.1139 | 0.1273 | 0.1407 | 0.1541 | 0.1072 | 0.1206 | 0.1273 | 0.1407 | 0.1474 | 0.1608 | 1.34
07:00 | 0.16 | 0.136 | 0.152 | 0.168 | 0.184 | 0.128 | 0.144 | 0.152 | 0.168 | 0.176 | 0.192 | 1.6
08:00 | 0.167 | 0.14195 | 0.15865 | 0.17535 | 0.19205 | 0.1336 | 0.1503 | 0.15865 | 0.17535 | 0.1837 | 0.2004 | 1.67
09:00 | 0.165 | 0.14025 | 0.15675 | 0.17325 | 0.18975 | 0.132 | 0.1485 | 0.15675 | 0.17325 | 0.1815 | 0.198 | 1.65
10:00 | 0.165 | 0.14025 | 0.15675 | 0.17325 | 0.18975 | 0.132 | 0.1485 | 0.15675 | 0.17325 | 0.1815 | 0.198 | 1.65
11:00 | 0.172 | 0.1462 | 0.1634 | 0.1806 | 0.1978 | 0.1376 | 0.1548 | 0.1634 | 0.1806 | 0.1892 | 0.2064 | 1.72
12:00 | 0.188 | 0.1598 | 0.1786 | 0.1974 | 0.2162 | 0.1504 | 0.1692 | 0.1786 | 0.1974 | 0.2068 | 0.2256 | 1.88
13:00 | 0.198 | 0.1683 | 0.1881 | 0.2079 | 0.2277 | 0.1584 | 0.1782 | 0.1881 | 0.2079 | 0.2178 | 0.2376 | 1.98
14:00 | 0.198 | 0.1683 | 0.1881 | 0.2079 | 0.2277 | 0.1584 | 0.1782 | 0.1881 | 0.2079 | 0.2178 | 0.2376 | 1.98
15:00 | 0.19 | 0.1615 | 0.1805 | 0.1995 | 0.2185 | 0.152 | 0.171 | 0.1805 | 0.1995 | 0.209 | 0.228 | 1.9
16:00 | 0.184 | 0.1564 | 0.1748 | 0.1932 | 0.2116 | 0.1472 | 0.1656 | 0.1748 | 0.1932 | 0.2024 | 0.2208 | 1.84
17:00 | 0.188 | 0.1598 | 0.1786 | 0.1974 | 0.2162 | 0.1504 | 0.1692 | 0.1786 | 0.1974 | 0.2068 | 0.2256 | 1.88
18:00 | 0.207 | 0.17595 | 0.19665 | 0.21735 | 0.23805 | 0.1656 | 0.1863 | 0.19665 | 0.21735 | 0.2277 | 0.2484 | 2.07
19:00 | 0.253 | 0.21505 | 0.24035 | 0.26565 | 0.29095 | 0.2024 | 0.2277 | 0.24035 | 0.26565 | 0.2783 | 0.3036 | 2.53
20:00 | 0.272 | 0.2312 | 0.2584 | 0.2856 | 0.3128 | 0.2176 | 0.2448 | 0.2584 | 0.2856 | 0.2992 | 0.3264 | 2.72
21:00 | 0.274 | 0.2329 | 0.2603 | 0.2877 | 0.3151 | 0.2192 | 0.2466 | 0.2603 | 0.2877 | 0.3014 | 0.3288 | 2.74
22:00 | 0.25 | 0.2125 | 0.2375 | 0.2625 | 0.2875 | 0.2 | 0.225 | 0.2375 | 0.2625 | 0.275 | 0.3 | 2.5
23:00 | 0.209 | 0.17765 | 0.19855 | 0.21945 | 0.24035 | 0.1672 | 0.1881 | 0.19855 | 0.21945 | 0.2299 | 0.2508 | 2.09
Totale giornaliero | 4.364 | 3.7094 | 4.1458 | 4.5822 | 5.0186 | 3.4912 | 3.9276 | 4.1458 | 4.5822 | 4.8004 | 5.2368 | 43.64

## Domanda_5P15C
Domanda oraria - scenario alternativo (5 prosumer + 15 consumer)
Ora | DARERA [kWh] | P1 | P2 | P3 | P4 | P5 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | C13 | C14 | C15 | Domanda totale CER [kWh]
00:00 | 0.169 | 0.14365 | 0.16055 | 0.17745 | 0.19435 | 0.169 | 0.1352 | 0.1521 | 0.16055 | 0.17745 | 0.1859 | 0.2028 | 0.1352 | 0.1521 | 0.16055 | 0.17745 | 0.1859 | 0.2028 | 0.1521 | 0.169 | 0.1859 | 3.38
01:00 | 0.141 | 0.11985 | 0.13395 | 0.14805 | 0.16215 | 0.141 | 0.1128 | 0.1269 | 0.13395 | 0.14805 | 0.1551 | 0.1692 | 0.1128 | 0.1269 | 0.13395 | 0.14805 | 0.1551 | 0.1692 | 0.1269 | 0.141 | 0.1551 | 2.82
02:00 | 0.126 | 0.1071 | 0.1197 | 0.1323 | 0.1449 | 0.126 | 0.1008 | 0.1134 | 0.1197 | 0.1323 | 0.1386 | 0.1512 | 0.1008 | 0.1134 | 0.1197 | 0.1323 | 0.1386 | 0.1512 | 0.1134 | 0.126 | 0.1386 | 2.52
03:00 | 0.119 | 0.10115 | 0.11305 | 0.12495 | 0.13685 | 0.119 | 0.0952 | 0.1071 | 0.11305 | 0.12495 | 0.1309 | 0.1428 | 0.0952 | 0.1071 | 0.11305 | 0.12495 | 0.1309 | 0.1428 | 0.1071 | 0.119 | 0.1309 | 2.38
04:00 | 0.116 | 0.0986 | 0.1102 | 0.1218 | 0.1334 | 0.116 | 0.0928 | 0.1044 | 0.1102 | 0.1218 | 0.1276 | 0.1392 | 0.0928 | 0.1044 | 0.1102 | 0.1218 | 0.1276 | 0.1392 | 0.1044 | 0.116 | 0.1276 | 2.32
05:00 | 0.119 | 0.10115 | 0.11305 | 0.12495 | 0.13685 | 0.119 | 0.0952 | 0.1071 | 0.11305 | 0.12495 | 0.1309 | 0.1428 | 0.0952 | 0.1071 | 0.11305 | 0.12495 | 0.1309 | 0.1428 | 0.1071 | 0.119 | 0.1309 | 2.38
06:00 | 0.134 | 0.1139 | 0.1273 | 0.1407 | 0.1541 | 0.134 | 0.1072 | 0.1206 | 0.1273 | 0.1407 | 0.1474 | 0.1608 | 0.1072 | 0.1206 | 0.1273 | 0.1407 | 0.1474 | 0.1608 | 0.1206 | 0.134 | 0.1474 | 2.68
07:00 | 0.16 | 0.136 | 0.152 | 0.168 | 0.184 | 0.16 | 0.128 | 0.144 | 0.152 | 0.168 | 0.176 | 0.192 | 0.128 | 0.144 | 0.152 | 0.168 | 0.176 | 0.192 | 0.144 | 0.16 | 0.176 | 3.2
08:00 | 0.167 | 0.14195 | 0.15865 | 0.17535 | 0.19205 | 0.167 | 0.1336 | 0.1503 | 0.15865 | 0.17535 | 0.1837 | 0.2004 | 0.1336 | 0.1503 | 0.15865 | 0.17535 | 0.1837 | 0.2004 | 0.1503 | 0.167 | 0.1837 | 3.34
09:00 | 0.165 | 0.14025 | 0.15675 | 0.17325 | 0.18975 | 0.165 | 0.132 | 0.1485 | 0.15675 | 0.17325 | 0.1815 | 0.198 | 0.132 | 0.1485 | 0.15675 | 0.17325 | 0.1815 | 0.198 | 0.1485 | 0.165 | 0.1815 | 3.3
10:00 | 0.165 | 0.14025 | 0.15675 | 0.17325 | 0.18975 | 0.165 | 0.132 | 0.1485 | 0.15675 | 0.17325 | 0.1815 | 0.198 | 0.132 | 0.1485 | 0.15675 | 0.17325 | 0.1815 | 0.198 | 0.1485 | 0.165 | 0.1815 | 3.3
11:00 | 0.172 | 0.1462 | 0.1634 | 0.1806 | 0.1978 | 0.172 | 0.1376 | 0.1548 | 0.1634 | 0.1806 | 0.1892 | 0.2064 | 0.1376 | 0.1548 | 0.1634 | 0.1806 | 0.1892 | 0.2064 | 0.1548 | 0.172 | 0.1892 | 3.44
12:00 | 0.188 | 0.1598 | 0.1786 | 0.1974 | 0.2162 | 0.188 | 0.1504 | 0.1692 | 0.1786 | 0.1974 | 0.2068 | 0.2256 | 0.1504 | 0.1692 | 0.1786 | 0.1974 | 0.2068 | 0.2256 | 0.1692 | 0.188 | 0.2068 | 3.76
13:00 | 0.198 | 0.1683 | 0.1881 | 0.2079 | 0.2277 | 0.198 | 0.1584 | 0.1782 | 0.1881 | 0.2079 | 0.2178 | 0.2376 | 0.1584 | 0.1782 | 0.1881 | 0.2079 | 0.2178 | 0.2376 | 0.1782 | 0.198 | 0.2178 | 3.96
14:00 | 0.198 | 0.1683 | 0.1881 | 0.2079 | 0.2277 | 0.198 | 0.1584 | 0.1782 | 0.1881 | 0.2079 | 0.2178 | 0.2376 | 0.1584 | 0.1782 | 0.1881 | 0.2079 | 0.2178 | 0.2376 | 0.1782 | 0.198 | 0.2178 | 3.96
15:00 | 0.19 | 0.1615 | 0.1805 | 0.1995 | 0.2185 | 0.19 | 0.152 | 0.171 | 0.1805 | 0.1995 | 0.209 | 0.228 | 0.152 | 0.171 | 0.1805 | 0.1995 | 0.209 | 0.228 | 0.171 | 0.19 | 0.209 | 3.8
16:00 | 0.184 | 0.1564 | 0.1748 | 0.1932 | 0.2116 | 0.184 | 0.1472 | 0.1656 | 0.1748 | 0.1932 | 0.2024 | 0.2208 | 0.1472 | 0.1656 | 0.1748 | 0.1932 | 0.2024 | 0.2208 | 0.1656 | 0.184 | 0.2024 | 3.68
17:00 | 0.188 | 0.1598 | 0.1786 | 0.1974 | 0.2162 | 0.188 | 0.1504 | 0.1692 | 0.1786 | 0.1974 | 0.2068 | 0.2256 | 0.1504 | 0.1692 | 0.1786 | 0.1974 | 0.2068 | 0.2256 | 0.1692 | 0.188 | 0.2068 | 3.76
18:00 | 0.207 | 0.17595 | 0.19665 | 0.21735 | 0.23805 | 0.207 | 0.1656 | 0.1863 | 0.19665 | 0.21735 | 0.2277 | 0.2484 | 0.1656 | 0.1863 | 0.19665 | 0.21735 | 0.2277 | 0.2484 | 0.1863 | 0.207 | 0.2277 | 4.14
19:00 | 0.253 | 0.21505 | 0.24035 | 0.26565 | 0.29095 | 0.253 | 0.2024 | 0.2277 | 0.24035 | 0.26565 | 0.2783 | 0.3036 | 0.2024 | 0.2277 | 0.24035 | 0.26565 | 0.2783 | 0.3036 | 0.2277 | 0.253 | 0.2783 | 5.06
20:00 | 0.272 | 0.2312 | 0.2584 | 0.2856 | 0.3128 | 0.272 | 0.2176 | 0.2448 | 0.2584 | 0.2856 | 0.2992 | 0.3264 | 0.2176 | 0.2448 | 0.2584 | 0.2856 | 0.2992 | 0.3264 | 0.2448 | 0.272 | 0.2992 | 5.44
21:00 | 0.274 | 0.2329 | 0.2603 | 0.2877 | 0.3151 | 0.274 | 0.2192 | 0.2466 | 0.2603 | 0.2877 | 0.3014 | 0.3288 | 0.2192 | 0.2466 | 0.2603 | 0.2877 | 0.3014 | 0.3288 | 0.2466 | 0.274 | 0.3014 | 5.48
22:00 | 0.25 | 0.2125 | 0.2375 | 0.2625 | 0.2875 | 0.25 | 0.2 | 0.225 | 0.2375 | 0.2625 | 0.275 | 0.3 | 0.2 | 0.225 | 0.2375 | 0.2625 | 0.275 | 0.3 | 0.225 | 0.25 | 0.275 | 5
23:00 | 0.209 | 0.17765 | 0.19855 | 0.21945 | 0.24035 | 0.209 | 0.1672 | 0.1881 | 0.19855 | 0.21945 | 0.2299 | 0.2508 | 0.1672 | 0.1881 | 0.19855 | 0.21945 | 0.2299 | 0.2508 | 0.1881 | 0.209 | 0.2299 | 4.18
Totale giornaliero | 4.364 | 3.7094 | 4.1458 | 4.5822 | 5.0186 | 4.364 | 3.4912 | 3.9276 | 4.1458 | 4.5822 | 4.8004 | 5.2368 | 3.4912 | 3.9276 | 4.1458 | 4.5822 | 4.8004 | 5.2368 | 3.9276 | 4.364 | 4.8004 | 87.28

## Riepilogo_scenari
Riepilogo dati di input per i due scenari
Grandezza | Caso base 4P6C | Scenario 5P15C | Unità
Numero utenti | 10 | 20 | -
Numero prosumer | 4 | 5 | -
Numero consumer | 6 | 15 | -
Produzione FV giornaliera | 211.3772 | 264.2215 | kWh
Domanda giornaliera | 43.64 | 87.28 | kWh
Capacità BESS | 9.5 | 9.5 | kWh
SOC iniziale/finale | 4.75 | 4.75 | kWh